## E-Log Book Wet Sys.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37
ADANI POWER LIMITED (ADTPS- 2X250MW)
Document No | [13 empty] | Issue No/Date | [10 empty] | Revision No/Date
ADTPS/AHP/OPN/F/02
SHIFT INCHARGE LOG BOOK ASH HANDLING WET-DEASHING SYSTEM STATUS
24-09-2026 | [13 empty] | A | [10 empty] | TEST SHIFT IN CHARGE
| 10:00 | [6 empty] | AB-1, CD-1 |  | ESP Status | [10 empty] | 10:05 | [6 empty] | AB-1, CD-1 |  | ESP Status
Time | 235 MW | [6 empty] | ESP Fields Discharged | [11 empty] | Time | 232 MW | [6 empty] | ESP Fields Discharged
Load | 112 TPH | [6 empty] | NORMAL | [11 empty] | Load | 110 TPH | [6 empty] | NORMAL
Coal Flow | AVAILABLE | [6 empty] | AVAILABLE | [11 empty] | Coal Flow | AVAILABLE | [6 empty] | AVAILABLE
[8 empty] | AVAILABLE | [19 empty] | AVAILABLE
TOTAL (DRY + WET SYSTEM) POWER CONSUMPTION IN MW- UNIT-1&2 | [14 empty] | DRY SYSTEM POWER CONSUMPTION IN MW- UNIT-1&2 | [14 empty] | WET SYSTEM POWER CONSUMPTION IN MW- UNIT-1&2
500 KVA( AXA/AXB) TRANFORMER |  |  | 118.4 |  |  | 126.7 |  |  | 8.3 | [5 empty] | 500 KVA( AXC/AXD) TRANFORMER |  |  | 121.1 |  |  | 129.6 |  |  | 8.5 | [8 empty] | Total (GT-1) - (GT-2)
34.45 | [14 empty] | 17.25 | [14 empty] | 154.25
29.8 | [14 empty] | 15.1
3.2 | [14 empty] | 2.75
67.45 | [14 empty] | 35.1
101.9 | [14 empty] | 52.35
BOTTOM ASH HOPPER DE-ASHING REPORT UNIT-1 & 2
UNIT | START TIME |  |  |  |  | STOP TIME | [5 empty] | TOTAL TIME | [6 empty] | CG IN SERVICE |  |  |  |  | FLAME CHECKED BY | [5 empty] | WITNESS BY
Unit#1 | 08:20 |  |  |  |  | 08:45 | [5 empty] | 00:25 | [6 empty] | IN |  |  |  |  | TEST OP | [5 empty] | TEST SIC
Unit#2 | 09:10 |  |  |  |  | 09:35 | [5 empty] | 00:25 | [6 empty] | IN |  |  |  |  | TEST OP | [5 empty] | TEST SIC
ESP/APH/ECO/ DUCT HOPPER UNIT-1&2 & COARSE ASH SILO DE-ASHING REPORT
U-1 ESP WET DE-ASHING STATUS
ESP | AB-1ST FIELD |  |  | CD-1ST FIELD |  |  | AB-2ND FIELD |  |  | CD-2ND FIELD |  |  | AB-3RD FIELD |  |  | CD-3RD FIELD |  |  | AB-4TH FIELD |  |  | CD-4TH FIELD |  |  | AB-5TH FIELD |  |  | CD-5TH FIELD |  |  | AB-6TH FIELD |  |  | CD-6TH FIELD
CYCLE | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME
1 | 08:00 | 08:20 | 00:20 | 08:25 | 08:45 | 00:20 | 08:50 | 09:10 | 00:20 | 09:15 | 09:35 | 00:20 | 09:40 | 10:00 | 00:20 | 10:05 | 10:25 | 00:20 | 10:30 | 10:50 | 00:20 | 10:55 | 11:15 | 00:20 | 11:20 | 11:40 | 00:20 | 11:45 | 12:05 | 00:20 | 12:10 | 12:30 | 00:20 | 12:35 | 12:55 | 00:20
2 | 08:02 | 08:22 | 00:20 | 08:27 | 08:47 | 00:20 | 08:52 | 09:12 | 00:20 | 09:17 | 09:37 | 00:20 | 09:42 | 10:02 | 00:20 | 10:07 | 10:27 | 00:20 | 10:32 | 10:52 | 00:20 | 10:57 | 11:17 | 00:20 | 11:22 | 11:42 | 00:20 | 11:47 | 12:07 | 00:20 | 12:12 | 12:32 | 00:20 | 12:37 | 12:57 | 00:20
3 | 08:04 | 08:24 | 00:20 | 08:29 | 08:49 | 00:20 | 08:54 | 09:14 | 00:20 | 09:19 | 09:39 | 00:20 | 09:44 | 10:04 | 00:20 | 10:09 | 10:29 | 00:20 | 10:34 | 10:54 | 00:20 | 10:59 | 11:19 | 00:20 | 11:24 | 11:44 | 00:20 | 11:49 | 12:09 | 00:20 | 12:14 | 12:34 | 00:20 | 12:39 | 12:59 | 00:20
U-2 ESP WET DE-ASHING STATUS
ESP | AB-1ST FIELD |  |  | CD-1ST FIELD |  |  | AB-2ND FIELD |  |  | CD-2ND FIELD |  |  | AB-3RD FIELD |  |  | CD-3RD FIELD |  |  | AB-4TH FIELD |  |  | CD-4TH FIELD |  |  | AB-5TH FIELD |  |  | CD-5TH FIELD |  |  | AB-6TH FIELD |  |  | CD-6TH FIELD
CYCLE | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME
1 | 08:05 | 08:25 | 00:20 | 08:30 | 08:50 | 00:20 | 08:55 | 09:15 | 00:20 | 09:20 | 09:40 | 00:20 | 09:45 | 10:05 | 00:20 | 10:10 | 10:30 | 00:20 | 10:35 | 10:55 | 00:20 | 11:00 | 11:20 | 00:20 | 11:25 | 11:45 | 00:20 | 11:50 | 12:10 | 00:20 | 12:15 | 12:35 | 00:20 | 12:40 | 13:00 | 00:20
2 | 08:07 | 08:27 | 00:20 | 08:32 | 08:52 | 00:20 | 08:57 | 09:17 | 00:20 | 09:22 | 09:42 | 00:20 | 09:47 | 10:07 | 00:20 | 10:12 | 10:32 | 00:20 | 10:37 | 10:57 | 00:20 | 11:02 | 11:22 | 00:20 | 11:27 | 11:47 | 00:20 | 11:52 | 12:12 | 00:20 | 12:17 | 12:37 | 00:20 | 12:42 | 13:02 | 00:20
3 | 08:09 | 08:29 | 00:20 | 08:34 | 08:54 | 00:20 | 08:59 | 09:19 | 00:20 | 09:24 | 09:44 | 00:20 | 09:49 | 10:09 | 00:20 | 10:14 | 10:34 | 00:20 | 10:39 | 10:59 | 00:20 | 11:04 | 11:24 | 00:20 | 11:29 | 11:49 | 00:20 | 11:54 | 12:14 | 00:20 | 12:19 | 12:39 | 00:20 | 12:44 | 13:04 | 00:20
U-1 ECO/ APH/ DUCT/ CAS WET DE-ASHING STATUS | [18 empty] | U-2 ECO/ APH/ DUCT/ CAS WET DE-ASHING STATUS
CYCLE | ECONOMISE- 1 TO 4 |  |  | AIR PRE HEATER-1 TO 3 |  |  | AIR PRE HEATER-4 TO 6 |  |  | DUCT-WEST |  |  | DUCT- EAST |  |  | COARSE ASH SILO |  |  | ECONOMISE- 1 TO 4 |  |  | AIR PRE HEATER-1 TO 3 |  |  | AIR PRE HEATER-4 TO 6 |  |  | DUCT-WEST |  |  | DUCT- EAST |  |  | COARSE ASH SILO
| START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME | START | STOP | TOTAL TIME
1 | 08:00 | 08:15 | 00:15 | 08:20 | 08:35 | 00:15 | 08:40 | 08:55 | 00:15 | 09:00 | 09:15 | 00:15 | 09:20 | 09:35 | 00:15 | 09:40 | 09:55 | 00:15 | 10:00 | 10:15 | 00:15 | 10:20 | 10:35 | 00:15 | 10:40 | 10:55 | 00:15 | 11:00 | 11:15 | 00:15 | 11:20 | 11:35 | 00:15 | 11:40 | 11:55 | 00:15
2 | 08:02 | 08:17 | 00:15 | 08:22 | 08:37 | 00:15 | 08:42 | 08:57 | 00:15 | 09:02 | 09:17 | 00:15 | 09:22 | 09:37 | 00:15 | 09:42 | 09:57 | 00:15 | 10:02 | 10:17 | 00:15 | 10:22 | 10:37 | 00:15 | 10:42 | 10:57 | 00:15 | 11:02 | 11:17 | 00:15 | 11:22 | 11:37 | 00:15 | 11:42 | 11:57 | 00:15
3 | 08:04 | 08:19 | 00:15 | 08:24 | 08:39 | 00:15 | 08:44 | 08:59 | 00:15 | 09:04 | 09:19 | 00:15 | 09:24 | 09:39 | 00:15 | 09:44 | 09:59 | 00:15 | 10:04 | 10:19 | 00:15 | 10:24 | 10:39 | 00:15 | 10:44 | 10:59 | 00:15 | 11:04 | 11:19 | 00:15 | 11:24 | 11:39 | 00:15 | 11:44 | 11:59 | 00:15
U-1 WET SYSTEM - ESP FIELD AVAILABILITY STATUS | [18 empty] | U-2 WET SYSTEM - ESP FIELD AVAILABILITY STATUS
AVAIL. STATUS | AB-1ST | CD-1ST | AB-2ND | CD-2ND | AB-3RD | CD-3RD | AB-4TH | CD-4TH | AB-5TH | CD-5TH | AB-6TH | CD-6TH | ECO-1 TO4 | APH-1 TO 3 | APH-4 TO6 | DUCT-EAST | DUCT-WEST | C.A. SILO | AVAIL. STATUS | AB-1ST | CD-1ST | AB-2ND | CD-2ND | AB-3RD | CD-3RD | AB-4TH | CD-4TH | AB-5TH | CD-5TH | AB-6TH | CD-6TH | ECO-1 TO4 | APH-1 TO 3 | APH-4 TO6 | DUCT-EAST | DUCT-WEST
>>> | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A
WET SYSTEM - EQUIPMENTS RUNNING STATUS (HT)
PUMPS | ADP-A |  |  |  | ADP-B |  |  |  | ADP-C |  |  |  | ADP-D |  |  |  | HPP-A |  |  |  | HPP-B |  |  |  | HPP-C |  |  |  | SWP-A |  |  |  | SWP-B
CYCLE | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS
1 | 08:00 | 09:00 | 01:00 | A | 08:07 | 09:17 | 01:10 | A | 08:14 | 09:34 | 01:20 | A | 08:21 | 09:21 | 01:00 | A | 08:28 | 09:38 | 01:10 | A | 08:35 | 09:55 | 01:20 | A | 08:42 | 09:42 | 01:00 | A | 08:49 | 09:59 | 01:10 | A | 08:56 | 10:16 | 01:20 | A
2 | 08:05 | 09:05 | 01:00 |  | 08:12 | 09:22 | 01:10 |  | 08:19 | 09:39 | 01:20 |  | 08:26 | 09:26 | 01:00 |  | 08:33 | 09:43 | 01:10 | A | 08:40 | 10:00 | 01:20 | A | 08:47 | 09:47 | 01:00 | A | 08:54 | 10:04 | 01:10 | A | 09:01 | 10:21 | 01:20 | A
3 | 08:10 | 09:10 | 01:00 |  | 08:17 | 09:27 | 01:10 |  | 08:24 | 09:44 | 01:20 |  | 08:31 | 09:31 | 01:00 |  | 08:38 | 09:48 | 01:10 | A | 08:45 | 10:05 | 01:20 | A | 08:52 | 09:52 | 01:00 | A | 08:59 | 10:09 | 01:10 | A | 09:06 | 10:26 | 01:20 | A
4 | 08:15 | 09:15 | 01:00 |  | 08:22 | 09:32 | 01:10 |  | 08:29 | 09:49 | 01:20 |  | 08:36 | 09:36 | 01:00 |  | 08:43 | 09:53 | 01:10 | A | 08:50 | 10:10 | 01:20 | A | 08:57 | 09:57 | 01:00 | A | 09:04 | 10:14 | 01:10 | A | 09:11 | 10:31 | 01:20 | A
|  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:40 |  |  | TOTAL HRS | 05:20 |  |  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:40 |  |  | TOTAL HRS | 05:20 |  |  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 04:40 |  |  | TOTAL HRS | 05:20
WET SYSTEM - EQUIPMENTS RUNNING STATUS (LT)
PUMPS | ISP-1A |  |  |  | ISP-2A |  |  |  | ISP-2B |  |  |  | LPP-A |  |  |  | LPP-B |  |  |  | LPP-C |  |  |  |  | Unit-1 Over flow Transfer Pump | [5 empty] | Unit-2 Over flow Transfer Pump
CYCLE | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS | START | STOP | RUNNING HRS | AVAIL. STATUS |  | Pump |  | AVAIL. STATUS |  |  |  | Pump |  | AVAIL. STATUS
1 | 08:00 | 08:55 | 00:55 | A | 08:08 | 09:08 | 01:00 | A | 08:16 | 09:11 | 00:55 | A | 08:24 | 09:24 | 01:00 | A | 08:32 | 09:27 | 00:55 | A | 08:40 | 09:40 | 01:00 | A |  | OTP-1A |  | A |  |  |  | OTP-2A |  | A
2 | 08:04 | 08:59 | 00:55 |  | 08:12 | 09:12 | 01:00 |  | 08:20 | 09:15 | 00:55 |  | 08:28 | 09:28 | 01:00 | A | 08:36 | 09:31 | 00:55 | A | 08:44 | 09:44 | 01:00 | A
3 | 08:08 | 09:03 | 00:55 |  | 08:16 | 09:16 | 01:00 |  | 08:24 | 09:19 | 00:55 |  | 08:32 | 09:32 | 01:00 | A | 08:40 | 09:35 | 00:55 | A | 08:48 | 09:48 | 01:00 | A |  | OTP-1B |  | A |  |  |  | OTP-2B |  | A
4 | 08:12 | 09:07 | 00:55 |  | 08:20 | 09:20 | 01:00 |  | 08:28 | 09:23 | 00:55 |  | 08:36 | 09:36 | 01:00 | A | 08:44 | 09:39 | 00:55 | A | 08:52 | 09:52 | 01:00 | A
|  | TOTAL HRS | 03:40 |  |  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 03:40 |  |  | TOTAL HRS | 04:00 |  |  | TOTAL HRS | 03:40 |  |  | TOTAL HRS | 04:00
Events Unit-1 | [19 empty] | Events Unit-2
Date |  |  |  | Time |  |  |  | Attachment |  |  |  |  | Description | [6 empty] | Date |  |  |  | Time |  |  |  | Attachment |  |  |  | Description
24-09-2026 |  |  |  | 10:30 |  |  |  | TEST PHOTO |  |  |  |  | Routine wet de-ashing cycle completed; all major equipment available. | [6 empty] | 24-09-2026 |  |  |  | 11:15 |  |  |  | TEST PHOTO |  |  |  | Unit-2 ESP hopper level normal.
No abnormal event observed during shift. Dummy data entered for testing.
Follow-up
24-09-2026 |  |  |  | 12:00 |  |  |  | OPEN |  |  |  |  | Verify routine inspection of wet-system pumps during next shift.
Protection Bypassed
24-09-2026 |  |  |  | 13:10 |  |  |  | NORMAL |  |  |  |  | No protection bypassed.
Equipment Not Available
24-09-2026 |  |  |  | 14:20 |  |  |  | AVAILABLE |  |  |  |  | All listed wet-system equipment available.
TEST OPERATOR